Appendix 2: Omitted and missing data

| Digital One-Board Balance Test error | Freq. |
| --- | --- |
| Qualitative error missed by Matti | 6 |
| Placement of Balance beam causing error | 5 |
| Non-supporting foot making contact outside Matti | 2 |
| Timer remained at 0 | 2 |
| Bugs in software | 4 |
| Total | 19 |
| Digital Lateral Jump test error | Freq |
| Simultaneous contact on both sides of wooden beam | 13 |
| System timeout after hitting midline | 10 |
| Displacement of the wooden beam during trial | 3 |
| Fall during test performance | 1 |
| Total | 27 |